ElderOS – Phase 1 Product Specification

Product: ElderOS Vision (Room-Based AI Safety System)
Deployment Model: Stand-alone, on-prem edge system (no EHR integration required)
Primary Buyer: Long-Term Care (LTC) Homes, Retirement Homes
Primary Objective: Reduce unwitnessed falls, improve response time, and create defensible incident documentation.

Phase 1 is intentionally narrow: room safety + automated documentation + proactive risk flagging.
Do not try to build a full clinical platform yet. This is a safety appliance.

1) System Overview

ElderOS Vision is an AI edge-processing system installed inside resident rooms.
It continuously analyzes human movement and behavior patterns to detect:

- falls

- unsafe transfers

- night wandering

- prolonged inactivity

- bed exits

No wearables.
No nurse documentation required to operate.

The system processes video locally and outputs events, alerts, and compliance records — not surveillance video.

The platform’s operating principle:

detect → alert → document → follow-up

This aligns with proactive safety monitoring .

2) Hardware Architecture

Per 25 Rooms (Typical Unit)

Edge AI Appliance

- NVIDIA Jetson Orin Nano (preferred) or equivalent GPU edge box

- Ubuntu LTS

- Docker runtime

- Local SSD 1TB (encrypted)

Cameras (1 per room)

- 4MP PoE IR camera

- 2.8mm lens (wide FOV)

- Ceiling or upper wall mounted

- Night vision required

- No audio recording

Network

- VLAN isolated

- Local LAN only

- No cloud dependency for operation

Optional (Phase 1.5, not required)

- Corridor cameras

- Nurse station display screen

3) Software Architecture

Edge Stack

| Layer | Function |
| --- | --- |
| Video ingestion | RTSP stream capture |
| Vision AI | person detection + pose estimation |
| Event engine | fall detection & behavior analysis |
| Alert engine | notifications & escalation |
| Compliance engine | incident documentation |
| Local database | event storage |
| Web dashboard | nurse & supervisor UI |

All inference is performed locally.

4) Core Functional Modules

A. Real-Time Fall Detection

Detects:

- floor impact

- uncontrolled descent

- lying on floor beyond threshold

Outputs:

- alert within 3–6 seconds

- room ID

- resident ID

- event timestamp

B. Bed Exit Monitoring

Detects:

- sitting on edge of bed

- standing up from bed

- night bed exit (configurable hours)

Alerts:

- “bed exit at night”

- “prolonged edge-of-bed position”

Purpose:
pre-fall intervention.

C. Unsafe Transfer Detection

Detects:

- unassisted standing

- wheelchair exit

- chair slip

- instability during transfer

This replaces traditional pressure mats and chair alarms.

D. Prolonged Inactivity

Detects:

- no movement beyond configured time

- potential unconsciousness

- medical event possibility

E. Night Wandering

Detects:

- multiple nighttime exits

- pacing behavior

- confusion patterns

5) Resident Mobility Profile (Automatic Risk Assessment)

System continuously builds a behavioral baseline:

Metrics tracked:

- walking speed

- transfer stability

- time upright

- nighttime activity

- frequency of assistance-free movement

Output:
Daily Fall Risk Score (0-100)

Flags:

- rapid deterioration

- increasing instability

- elevated fall probability

No manual assessment forms required.

6) Alerting & Escalation

Alert Delivery

- Nurse station dashboard

- Mobile browser (phones)

- Optional SMS/email (facility controlled)

Escalation Rules

Example:

- Nurse alerted immediately

- If not acknowledged in X minutes → supervisor alert

- If still unacknowledged → charge nurse alert

7) Incident Documentation (Critical Compliance Feature)

When a fall occurs, the system automatically creates an incident record.

Auto-Generated Record Contains

- exact time of fall

- 30 sec pre-event activity

- post-event state

- response time

- who acknowledged alert

- who attended

This produces a defensible audit timeline .

No manual note writing required beyond clinical assessment.

8) Post-Fall Workflow

After a detected fall:

System automatically:

- creates incident

- tags resident high-risk

- schedules reassessment reminder

- flags room on dashboard

Supervisor receives:

- event summary

- response time

- repeat fall indicator

9) Privacy & Compliance Controls

Designed for PHIPA-sensitive environments:

- no facial recognition

- no audio capture

- on-device processing

- configurable video retention

- face/body anonymization option

- bathroom exclusion zones

Privacy-first monitoring .

10) Dashboard Interfaces

Nurse View

- live alerts

- room list

- high-risk residents

- acknowledgment button

Supervisor View

- falls per week/month

- response time analytics

- repeat fall residents

- high-risk rooms

Executive View

- facility safety trend

- liability indicators

- shift comparisons

11) Data Storage

Local database stores:

- event metadata

- risk scores

- response timestamps

- audit logs

Video clips:

- short event snippets only

- retention configurable (e.g., 3–14 days)

12) Security

- local encrypted storage

- HTTPS dashboard

- role-based access

- audit logs

- no external access required

- outbound only optional for remote support

13) Installation Workflow

Week 1:

- mount cameras

- install edge appliance

- configure zones

Week 2:

- silent monitoring (calibration)

Week 3:

- activate alerts

Rapid deployment without workflow disruption .

14) Explicitly NOT in Phase 1

(Important to keep scope realistic)

Not included:

- EHR integration

- vitals monitoring

- medication tracking

- staff scheduling

- wearables

- facility-wide RTLS tracking

- predictive hospital analytics

Those belong to Phase 2 (CareIQ).

15) Acceptance Criteria (What Defines Success)

The product is considered successful if a home can demonstrate:

- Faster fall response time

- Reduction in unwitnessed falls

- Complete incident documentation

- Ongoing resident risk monitoring

If those 4 are achieved, the facility has measurable risk reduction — which is what they actually purchase.